Utility Data Analytics & Engineering Analysis Best Practices

A Guide for Interpreting, Validating, and Applying Utility Data for Engineering Decision-Making

# Purpose

This document provides guidance for engineering firms and analysts on how to properly interpret, validate, analyze, and communicate insights derived from utility-provided data.

Successful analysis depends on both technical methods and a strong understanding of data context and limitations.

# Data Collection and Management

## Data Handling and Access:

- Ensure shared reference tables or metadata are available for analysis (e.g., lift station parameters, breaker specifications).

- Use secure, shared platforms (e.g., SharePoint, MS Excel, Databricks) as provided by the utility.

## Understanding Utility Data:

- Engineering firms rely on the utility to provide accurate and well-documented datasets.

- Review data dictionaries to understand variable definitions, units, sources, and relevance.

## Data Validation and Readiness

Before performing analysis:

- Verify data completeness and time coverage

- Identify missing, inconsistent, or anomalous values

- Confirm units, definitions, and measurement methods

- Clarify any undocumented or ambiguous variables

## External Data Integration

- Confirm utility-approved external datasets

- Align external data with analytical objectives

- Document:

  - Source

  - Transformation steps

  - Assumptions and limitations

# Analytical Methods

## Sensors Data

- Time-series analysis

- Anomaly detection

- Forecasting

- Missing data imputation

## Other Related Data

Spatial analysis

Predictive modeling

Hotspot and anomaly detection

## Open-Source Data

- (rainfall, groundwater, census, tidal, temperature) required for analysis.

## Engineering Analysis

- System performance evaluation

- Trend analysis

- Operational benchmarking

# Visualization and Reporting:

- Translate analytics into clear, actionable insights

- Clearly distinguish: Observations, Interpretations, Recommendations

- Ensure outputs support, but do not replace, engineering decision-making

- Build dashboards in collaboration with utility stakeholders (e.g., Tableau, Power BI, ArcGIS).

- Ensure reporting captures methodology, analysis steps, and actionable insights.

- Maintain clear version control and update procedures for dashboards and reports.

# Governance and Security

- Adhere to utility-defined security protocols and access controls.

- Use approved enterprise platforms (e.g., Databricks, Azure Data Factory, Fabric, AWS) for processing and analysis.

- Respect data privacy, audit trails, and regulatory compliance at all stages.

# Validation and Feedback Loop

- Conduct regular validation sessions with utility stakeholders

- Adjust models based on operational feedback

- Continuously improve analytical accuracy and relevance

# Engineering Firms Checklist (Data Users/Analysts)

| Category | Key Actions | Notes / Questions | ✔ Completed |
| --- | --- | --- | --- |
| Data Access & Inventory | Confirm availability and completeness of historical and real-time data. | Coverage, formats, storage locations, access permissions. | ☐ |
| Data Dictionaries | Review variable definitions, units, and sources. | Clarify unclear or encoded variables before analysis. | ☐ |
| Data Quality Checks | Identify missing or inconsistent values; discuss exclusions with utility. | Plan imputation or cleaning methods. | ☐ |
| Metadata / Reference Tables | Verify all required metadata is provided (IDs, capacities, classifications). | Confirm updates or changes during project. | ☐ |
| External Data Integration | Confirm utility-approved open-source data and integration methods. | Document source, purpose, and cleaning steps. | ☐ |
| Data Updates | Understand update frequency and transfer method (API or batch). | Ensure pipelines can handle updates efficiently. | ☐ |
| Analysis Planning | Define analytical goals, modeling approaches, and assumptions. | SCADA: time series, forecasting; GIS: predictive modeling. | ☐ |
| Visualization / Reporting | Confirm dashboard platform, key metrics, and update process. | Maintain version control and documentation of changes. | ☐ |
| Governance & Security | Follow utility’s data access, encryption, and compliance protocols. | Ensure all data usage is secure and auditable. | ☐ |
| Validation & Feedback | Schedule check-ins with utility to validate outputs and receive feedback. | Align results with operational decision-making needs. | ☐ |